## Slide 1
Mechanical Measurements
Lesson 5

## Slide 2
We will now analyze more in depth each one of the functional blocks of the general measurement chain …
TRANSDUCER
SIGNAL CONDITIONER
VISUALIZER
X x
v, i
V, I
In the industry and in most modern measurement applications, the measurement chain is electric and the information passes through the different stages as voltage signal or as a current !
Despite the enormous technological advancements of the last 30 years, the main electrical visualizer instruments can still be included in only three classes:
The galvanometer
The oscilloscope
The digital voltmeter

## Slide 3
Analog oscilloscope is the older type of oscilloscope and can instantaneously display the waveform of the input signal on the screen !
The periodic input signal is combined on the fluorescent screen with an internal sawtooth (sweep) signal !
A trigger synchronizes the two signals !
The analog OSCILLOSCOPE

## Slide 4
Acceleration and collimation of the electron beam !
Vertical deflection of the beam by the horizontal plates !

## Slide 5
Sawtooth (sweep) and sinusoidal signal combination on the CRT screen !

## Slide 6
Digital OSCILLOSCOPE …
The digital oscilloscope does the same tasks as the analog scope (and much more) but it is actually a digital voltmeter that samples the input signal and displays it on a VGA screen !

## Slide 7
We will now study the most important signal manipulation circuits used in measurement instruments :
In modern and complex industry measurement system, the signal outputted by the transducer is almost always an electrical signal v or i for which, most of the time, we need to enhance the information content (the intensity of the measurand) !
It is always possible to measure a voltage with an amperometer and a current with a voltmeter, but we have to remember the different needs …

## Slide 8
The rectifier diode :
a) The SCR diode works here as a half-wave rectifier !
b) The Graetz bridge with 4 SCR diodes works here as a full- wave rectifier !

## Slide 9
→ is an integration operator
→ is a derivative operator
If we consider, for example, a sinusoidal signal
and we integrate and derivate it :
Preliminary considerations

## Slide 10
The low-pass “RC” circuit
Let’s study the two electric circuits
input (voltage) signal:
output (voltage) signal:
the current is and the output voltage:
but is the capacitive reactance, therefore the output/input ratio is :
Considering the output/input ratio is also:
time constant
vi
vo
R
C
i

## Slide 11
We can calculate the modulus of the previous complex function :
And the phase delay:
We recognize the frequency response of a simple 1st order electric signal manipulation stage !
The RC circuit is a low-pass filter (1 pole Butterworth filter) with a – 3 db cut-off frequency:
ω = 0
ω → ꝏ
ω = ωc

## Slide 12
Note that for which is
the output signal is the “integral” of the input signal

## Slide 13
The high-pass “CR” circuit
The two electric circuits' equations now are:
input (voltage) signal:
output (voltage) signal:
which now result in : with the same notations:
The output/input ratio is :
It is also a 1st order electric signal manipulation stage with a gain of :
vi
vo
R
C
i

## Slide 14
for ω = 0 G = 0
ω → ꝏ G = 1
ω = ωc
for ω = 0 =90°
ω → ꝏ = 0°
ω = ωc =45°

## Slide 15
For or
we get

the output signal is the “derivative” of the input signal !