## Slide 1
Mechanical Measurements
Lesson 6

## Slide 2
The operational amplifier (OA)
Ideal OA characteristics :
Amplification A → ∞ (107)
Input impedance Zi → ∞ (1010 )
Otput impedance Zo → 0 (100 )
Band width BW → ꝏ
Offset voltage Vio → 0
Inverting
Input
Non-Inverting
Input
Output
+Vsupply
-Vsupply
V1
V2
VDIFF
Vout

## Slide 3
The open loop OA can amplify a voltage signal but NOT over its supply voltages !
If we have Vcc = ±10 V and A = 107, Then
and , which is is the maximum input signal the OA can handle!
The OA goes into saturation for:
Vd=V+-V-
Example:

## Slide 4
The real open-loop frequency response curve is determined by the Gain Bandwidth Product (GBP) …
fT=A0*fH or frequency at the unitary gain
The BW of the AO in the open loop configuration is very narrow
Nonetheless, the Operational Amplifier CAN NOT be used as an amplifier in the open loop configuration !

## Slide 5
Inverting operational Amplifier configuration
We connect two resistors at the terminals as shown in the figure
At the virtual earth summing junction we have:
input signal:
output signal:
And the current at the virtual earth point is: . Now, since we have:
Static characteristic curve of the device
Gain (negative!)
ii
if
Virtual earth summing point
VDIFF
Vin
Rin
Rf
V2
V1
Vout
Iout
0v

## Slide 6
Because of the “high input impedance” of the OA device, there is virtually no current entering the "- terminal" of the OA and all the current flows aways through Ri :
and
 The output signal can be written as
where and
In the end we have:
The static characteristic curve
i
Non-Inverting operational Amplifier configuration
To get a “positive” signal amplification…
i
if
Positive GAIN !
Vin
Vout
Iin
Iout
Ri
Rf
0v

## Slide 7: Which value for the resistors?
Rf=8 k
Ri=2 k
Rf=8 
Ri=2 
The gain is the same, but the resistors are not the same!
For low values of R, the current values are high, so that there is a high dissipation of power.
To keep low the power dissipation it is good to use high values of R.
However, if R values are too high, the circulating current value could be very low, and become comparable with the current entering the AO… hypothesis?
Even small termic or offset current might affect AO
…k…
Both configurations have much lower amplification than in the open loop configuration (106 – 107). However the amplification “can be designed” by choosing the two resistance values !
Rf=8 M
Ri=2 M

## Slide 8
fT=A0*fH or frequency at the unitary gain
GBW can be used to calculate the closed-loop gain bandwidth:
If GBW is 10 MHz and the closed loop gain is 10 : closed loop BW = 10 MHz/10 = 1 MHz
If GBW is 1 MHz and the closed loop gain is 70 db, which is the closed loop BW ?
gain : 20logA=70db  logA = 70/20 = 3.5  A = 103.5 = 3162
Closed-loop BW = 1 MHz/3162 = 316 Hz
The BW of the AO in the open loop configuration is very narrow

## Slide 9
The voltage summing OA :
Here we wish to sum two voltages Va and Vb
For the inverting OA we have:
with
If we design the circuit inputs with the two resistance values being equal:
We can simplify the above equation and we obtain :
which is the sum of the two input voltages !
Note that summing two voltages means physically to sum the two input currents !
Even if the non-inverting configuration may seem preferable, the inverting configuration has important applications …
Va
Vb
ia
ib
Ra
Rb
Rf
if
Vo
Virtual earth summing point
0v
ii

## Slide 10
The gain of the inverting OA is:
with and
Therefore
the output signal is the electric integral of the input signal !
The active low-pass filter (integrator) :
Ri
C
if
ii
Vi
Vout
0v
For   0 , G  
- C becomes charged, and behaves as an open circuit
- The integrator behaves as an open-loop AO
- The continuous component yields to an infinite Vout

## Slide 11
The active low-pass filter (integrator) :
Amplifier / Integrator
These issues may be solved adding a resistor R2 in parallel to the capacitor C
● It behaves as different from the ideal integrator as R2 decreases
Ri=10k
R2=1000k
A=100
Ideal integrator
Ideal response of the real integrator
Real integrator

## Slide 12
The active high-pass filter (derivative) :
The gain is still:
with and
so
the electric derivative !
Rf
Ci
if
ii
Vi
Vout
0v

## Slide 13
Consider now that the OA accepts TWO voltages at the input terminals
V+ = V2 and V- = V1 both referred to earth, and amplifies its difference:
… But this is true in the IDEAL case !
In the reality, there are TWO slightly different amplifications at the inputs:
… (due to imperfections..)
This situation can be effectively described by the differential input : and the common mode input : which is the mean distance from the earth reference of the two input voltages.
And by the differential amplification : which operates on Vd and by the common mode amplification : which operates on Vc
For an ideal OA we would have and the OA would amplify only the differential input, completely eliminating the common mode input !
0
A

## Slide 14
To minimize this problem the OA must be designed with a high Ad and a very small Ac which means A1 ≈ A2
The ratio between the two amplifications is an important quality parameter of the OA, the Common Mode
Rejection Ratio : often expressed in logarithmic scale
Values range from 60 dB up to 120 Db for high quality OA …

## Slide 15
The Instrumentation Amplifier IA :
The most employed amplifier in measurements is designed with two stages:
A very high input impedance stage (1010 Ω)
A differential amplification stage
It has generally a very high Common Mode Rejection Ratio (> 100 dB) which makes it suitable to amplify floating signals (v2 – v1) …
The (differential) GAIN is :

## Slide 16
The Wheatstone Bridge
Two resistances r and r’ are connected in parallel and a galvanometer G is connected in a bridge configuration across the two resistances in the points A and B …
We move now the point A and B on the resistances so to have zero current though the galvanometer, which means also:
In this situation we identified 4 resistances : R1 , R2 , R3 , R4 for which we can write the following equations:
Making the ratio of the two equations, we get: or the bridge equilibrium equation !
C
A
D
B
R1
R2
R4
R3
E
G
I1
I2
r
r'

## Slide 17
No current through the bridge means also therefore, in practical application, we can substitute the galvanometer with a millivoltmeter !
The Wheatstone Bridge is a “zero method” electric network used for resistance measurements:
If is unknown, we equilibrate the bridge by operating on R2 and, knowing the values of R2 , R3 , R4 ,
we get:
However, this is NOT the main use of the Wheatstone Bridge …
It is possible to read this small change directly on the voltmeter indicator but, to do so, we need to know the bridge graduation curve (or static characteristic equation):
If we consider for simplicity a bridge with 4 equal resistances: and a variation ΔR1 only on the resistance R1, we get:
We might have a resistance R1 that changes slightly its value ΔR1 for physical reasons …
C
A
D
B
R1
R2
R4
R3
E
G

## Slide 18
The complete Wheatstone Bridge characteristic curve : which is clearly NOT linear !
However, if the variation is
really very small:
Then, the denominator of the graduation curve can be approximated with “1”
and the characteristic equation has been linearized !
Linearized Wheatstone Bridge characteristic curve !

## Slide 19
Same result if the only resistance with a small variation ΔR2 would have been R2 on the second arm of the bridge:
negative because R2 is in the negative term of the equilibrium equation:
In the case of simultaeous small variations of all 4 resistances of the Wheatstone Bridge , we would get:
The Full Wheatstone Bridge characteristic curve ! ( note the sign alternations … very important property …)

## Slide 20
The Carrier AC Amplifier :
The Carrier Amplifier is an AC amplifier which does NOT amplify DC signals or components !
It is designed on the “signal modulation and demodulation” principle of radio transmission !
The low frequency (fs) signal is modulated by the carrier frequency (fc) which is the only frequency the amplifier is able to amplify !
A phase sensitive demodulator and a low pass-filter return an amplified low frequency signal !
Modulation