## Slide 1
Mechanical Measurements
Lesson 11

## Slide 2
Force and mass measurements
Zero metod (or instrument)
There are many physical quantities in mechaniches that are measured through the force : pressure, mechanical strain, acceleration, mechanical torque, mechanical power, …
The measurement of the mass of an object, in practical situations, is intimately related to the measurement of a force : the weight !
High sensitivity, no dynamic

## Slide 3
Analytical balance
The balance of momentum around the fulcrum of the balance gives the equations:
The graduation curve is not linear but, for small rotations θ, we can confound the angle with its tangent :
The sensitivity is :

## Slide 4
When forces are directed in “any direction” different from the direction of gravity, they must be measured by other instruments: the dynamometers, which are almost all based on the measurement of the strain caused by the force (the measurand) on an elastic element inside !
Tensile Load cells:
Basic law of elasticity :
For a cylindrical elastic element which is axially loaded we can write :
The graduation curve is linear :
The sensitivity is constant :
l is the length of the element
A is the transversal section
E is the Young’s modulus of the material
Low sensitivity  strain gauges (ɛ>10-6)
x

## Slide 5
T
Tensile Load cells:
Elastic element
Strain gauge
W. B.
T
ɛ
e

## Slide 6
Bending load cells:
Sensitivity:
When you have small forces to measure and you need more sensitivity, the bending elastic element is preferred.
The basic law of elasticity F = k · x is still valid.
But
l is the length of the bending element
I is the moment of inertia of the bending element section
E is the Young’s modulus
Graduation curve:
x

## Slide 7
T
Elastic element
Strain gauge
W. B.
T
ɛ
e
Bending load cells:

## Slide 8
Examples of bending load cells:
Elastic force-to-deflection transducer